## Slide 1
Rating scale you will see during the rating
LabBench Scale you will use for the ratings.
horizontal scroll bar you will use for the ratings.
0/No itch
10/Worst imaginable itch

## Slide 2
Rating scale you will see during the rating
Horizontal scroll bar you will use for the ratings.

## Slide 4
LabBench
LabBench Display
LabBench SCALE
LabBench I/O
Notes: Experimental setup

## Slide 5
1. Select the Protocols page.
2. Select the LabBench I/O
3. Check an LabBench I/O device is installed.
4. If not, click the (+) add device button

## Slide 6
1. Select the Protocols page.
2. Select the labbench.io repository
3. Select the Alloknesis protocol
4. Click (+) the add protocol button.