This protocol is a study on the correlation between depression, anxiety and stress, and response inhibition as measured with the Stop-Signal Task. It is written to demonstrate the capabilities of LabBench to automate experimental protocols, providing guidance to operators and subjects, and for automatic processing and export of experimental data.

# Introduction to LabBench

Kristian Hennings

Contents

Introduction	2

Setting up the experiment	3

Experimental setup	4

Experimental setup: Joystick	4

Experimental Setup: LabBench I/O	5

Adding required equipment to LabBench	6

Creating an experiment	6

Configuring the experiment	6

Running the experiment	7

Procedures	7

Analysing experimental data	7

Writing the protocol	7

License	7

References	7

LabBench references	8

External references	8

# Introduction

The purpose of this protocol is to show how an experimental protocol can be implemented with LabBench. To this purpose a protocol that studies the relationship between Depression, Anxiety and Stress, and response inhibition is implemented. Depression, Anxiety and Stress is assessed with the DASS scale from the Psychology Foundation of Australia []. The DASS scale measures three related emotional states of depression, anxiety, and stress on 42-item self-report questionnaire.

Response inhibition is assessed with the use of a gamified version of the Stop-Signal Task. The classical Stop-Signal Task measures the ability to supress actions that are no longer required or appropriate. In the Stop-Signal Task participants are asked to perform a Go task that at random and infrequent times are interrupted by a Stop-Signal. Without a Stop-Signal the subjects see a Go signal of a left or right arrow and must press the left or right button respectively. In these Go-trials, not pressing a button is an error and the goal is to press the correct right or left button as fast as possible. However, when a Stop-Signal is presented with a delay after the Go-Signal, the participant must inhibit their response, and in these trials pressing a button is an error. The delay between the Go and Stop signals is adjusted throughout the test to find the minimal delay at which the participants can inhibit their response.

In the classical Stop-Signal Task the participants are told whether they responded correctly or incorrectly after each trial. However, in the present protocol the Stop-Signal Task has been turned into a game to demonstrate the capabilities of LabBench for dynamically generating visual stimuli. In this version the participants are awarded points depending on how fast and how many times they answer correctly on Go signals. However, if they fail to inhibit their response in Stop trials the additional points, they are answered for multiple correct Go trials answers are reset.

This introduction will explain how to setup, run, and analyse data from this experiment. This explanation will provide an overview of all the key concepts that needs to be known before you can use LabBench for your studies within neuroscience.

# Setting up the experiment

Before you can run an experiment with LabBench you must first have a protocol. For this introduction you will use a protocol that is available in the public LabBench Protocol Repository, and consequently, we do not need to write this protocol before running the experiment.

The LabBench Protocol Repository is a source of three types of protocols; 1) protocols like the present one that is intended to teach you how to use LabBench and how to write your own protocols, 2) template protocols that contains templates for experimental procedures that can be copy pasted into your own protocols and thus reducing the work involved in writing protocols, and 3) standard protocols that can be used in studies that are intended to ensure that studies are using the same protocol as an original reference study. Protocol repositories is an extensive subject that will be introduced in section

Once, like for the present introduction, a protocol is available in a protocol repository the first step in a study is to setup an experiment based on this protocol. This setup is performed with the LabBench Designer program. LabBench consists of two programs:

- LabBench Designer is used for setting up and managing experiments.

- LabBench Runner is used for running experiments in the laboratory.

In short LabBench Runner is used in experimental sessions when a participant is present, and LabBench Designer is used at all other purposes.

## Experimental setup

LabBench is intended for experiments that takes place in a laboratory where equipment, such as rating scales, stimulators, visual displays are used to carry out experimental procedures. The set of equipment and their configuration for a study is referred to as the Experimental Setup of the study. For the present study we need an equipment setup that can be used for the subject to fill out the DASS questionnaire and to perform the Stop-Signal Task, and the protocol for the study defines two alternative experimental setups. The reason the protocol can define alternative experimental setups is that LabBench protocols does not rely on specific types of research equipment, instead they rely on abstract instruments that are implemented by research equipment in LabBench.

In the present protocol we need to perform two experimental procedures; filling out a questionnaire, and performing a cognitive task based on visual stimuli (Stop-Signal Task). These two experimental procedures need the following instruments:

| Procedure | Instruments | Purpose |
| --- | --- | --- |
| DASS Questionnaire | Questionnaire |  |
|  | Button |  |
| Stop-Signal Task | ImageDisplay |  |
|  | Button |  |

These three instrument types that are a small subset of the instruments that are available for LabBench protocols. Please see the manual LabBench Instruments [] for a full overview of all the instruments and their capabilities that are available.

These instruments are provided by two alternative experimental setups; one based on the LabBench I/O device, and the other based on a standard USB joystick. This is possible as both a joystick and the LabBench I/O implements the Button instrument that is required for the protocol. In addition to either a joystick or an LabBench I/O both setups use a standard external monitor that implements the Questionnaire and ImageDisplay instruments.

### Experimental setup: Joystick

The Joystick experimental setup is intended as a low-cost experimental setup that can be used for educational purposes, as it does not use specialized LabBench equipment. Instead, it relies on a standard USB joystick for PCs, which can be purchased for 25-35€. One joystick that has been used extensively is the Logitech F310 Gamepad.

Figure 1: Overview of the joystick experimental setup.

An overview of the Joystick experimental setup can be seen in Figure 1.

### Experimental Setup: LabBench I/O

Figure 2: Overview of the LabBench I/O experimental setup.

## Adding required equipment to LabBench

Before an experiment can be created using one of its experimental setups the devices for this setup must first be added to LabBench. Please note this is done only once, if the devices have already been added for previous experiment this step can be skipped.

To add the equipment to LabBench; 1) start the LabBench Designer program, 2) Select the Devices page, 3) Select the type of equipment you want to add (LabBench Display and Joystick), 4) Click the “Scan and add” button (please see Figure 3).

Figure 3: Overview of the Devices page in LabBench Designer.

Once the “Scan and add” button is pressed it will open a dialog window that allow you to scan for devices to add to the system (see Figure 4).

Figure 4: Dialog for adding new devices to the system.

## Creating an experiment

## Configuring the experiment

# Running the experiment

## Procedures

# Analysing experimental data

# Writing the protocol

# License

The Introduction to LabBench Protocol (introdemo@labbench.io) © 2024 by Inventors’ Way ApS is licensed under Creative Commons Attribution-NonCommercial-ShareAlike 4.0 International.

For a full explanation for the conditions of its use and the full license text, please refer to: https://creativecommons.org/licenses/by-nc-sa/4.0/

# References

## LabBench references

## External references