This protocol is a study of the correlation between depression, anxiety, and stress, and response inhibition as measured with the Stop-Signal Task. It is written to demonstrate the capabilities of LabBench to automate experimental protocols, providing guidance to operators and subjects, and for automatic processing and export of experimental data.

# Introduction to LabBench

Kristian Hennings

# Introduction

# Experimental Setup

# Protocol

# Using the protocol

The protocol can be installed from the (labbench.io) repository, which is available by default when LabBench is installed.

## Required devices

Before the protocol can be installed a LabBench I/O device must first be added to the LabBench installation (see Figure X). First start the LabBench Designer, to check that a LabBench I/O device is present or to add such a device if it is not, and then: 1) Select the Protocols Page, 2) Select the LabBench I/O device, 3) check that a LabBench I/O device is installed and available.

If a LabBench I/O device is not installed, then install one by first ensuring that the device is connected to the computer and then clicking on the (+) add device button.

Figure 4: Illustration of how to check if a LabBench I/O has been added to the LabBench system.

## Installing the protocol

To install the protocol; 1) Select the Protocols page, 2) Select the labbench.io repository, 3) Select the Alloknesis protocol, and 4) click the (+) add protocol button.

Figure 5: Procedure for how to install the protocol.

# Results

# Discussion

# License

The Introduction to LabBench Protocol (introdemo@labbench.io) © 2024 by Inventors’ Way ApS is licensed under Creative Commons Attribution-NonCommercial-ShareAlike 4.0 International.

For a full explanation for the conditions of its use and the full license text, please refer to: https://creativecommons.org/licenses/by-nc-sa/4.0/

# References