## Slide 1: Illustrations
Introduction to LabBench

## Slide 4
Select the Devices page
Select the type of instrument to add
Click the “Scan and add” button

## Slide 5
“Scan all connections” button
“Scan connection” button

## Slide 6
Click the “Install protocol” button
Select the Protocols page
Select the LabBench Protocol Repository
Select Introduction to LabBench
Notes: Joystick Experimental Setup

## Slide 7
ID of the experiment that must be unique
Name that is displayed to the experimenter
Experimental setup variant
Store the protocol in the repository
Click to create the experiment

## Slide 8
Select the Experiments page
Select the experiment to mange
Select the experiment page
Content of experiment page

## Slide 10
Configure device
Assign equipment

## Slide 11
ID of the device in the protocol
Equipment ID from the Devices Page

## Slide 13
Change output directory
Rerun action

## Slide 14
Experiment
Language
(Optional)
Subject
Session
(Optional)
Devices
(Optional)
LabBench Runner
Start
Decision about the progress in the Startup Wizard.
Yes
No
Is the it localized?
Is it multi-session?
Does it use
devices?

## Slide 15
Protocol
Test control and information
Test window
Log window

## Slide 16
Test status
Test name
State icon

## Slide 17
Start the test
Abort the test
Test status
Test name

## Slide 18
Add manual log entry
Log entries
Manual log entry

## Slide 19
Manual test controls

## Slide 21
Primary Screen
Secondary Screen (LabBench Display)